Request for research activity at Gruvebadet Atmosphere laboratory

Once completed, send form to Gruvebadet lab meeting contact point Mauro Mazzola at mauro.mazzola@cnr.it

* Please note that any bookings in the Research in Svalbard (RiS) portal cannot be approved before your research activity is coordinated with the Gruvebadet lab meeting contact point.

General

Title of the specific activity/project

Contact person(s) - Name, Institution, telephone, e-mail

Background/Rationale

Targets of the research activities

Description of the planned activity

Time period – Planned period for activity at Gruvebadet (start and end date)

Connection with ongoing activities and/or Gruvebadet/Atmospheric flagship strategy

Project, funding and network(s) - Name of project and RiS number, source of funding, network participation, webpage for project

Data Management plan and information exchange

Logistical needs/requirements

Location and space requirements - Size of equipment, how much rack/counter/floor space is needed, requirements for space outside, etc

Power consumption - Approximately Watts at full load and normal/average load

Air inlet - Requirements for sampling inlet(s)

Exhaust from the instrument and possible risk of contamination – risk for oil vapor, etc

Pumps – type of pump(s) used (internal/external), size, weight, placement, etc.

Gas - Gas cylinders needed for your instrument, which gases, consumption

Chemicals - For running/maintenance of instrument (list all chemicals that will be used)

Network requirements - Need for internet connection, instrument communication

Basic services - Need for inspection or maintenance. How often and who will maintain that?